## Sheet1
BIT POLYPHONIC, BALASORE
Discipline : ELECTRICAL ENGG. | Semester: 6th Sem | Name of the teaching faculty:Chandrasekhar Panigrahi
Subject : Testing & Maintenance | NUMBER OF DAYS PER WEEK CLASS ALLOTTED:4 | NUMBER OF WEEKS -15
Week | Class Day | Topics
1st week | 1st | Chapter 1 ( Installation, Commissioning & Testing of Machine )
| 2nd & 3rd | 1.1. Inspection of arrival of machine and inspection procedure before its installation.
| 4th | 1.2. Generalized procedure of installation of Electrical machines.
2nd week | 1st & 2nd | 1.3. Electric wiring for motors and switch gears
| 3rd and 4th | General requirement for Electric Installation according to Indian Electricity rules.
3rd week | 1st & 2nd | 1.5. Necessity of starters and relays for both DC and AC machines.
| 3rd and 4th | 1.6. Testing before giving supply and testing report.
4th week | 1st | Tutorial class
| 2nd | Tutorial class
| 3rd | Chapter 2 ( Installation, Commissioning & Testing of Transformer )
| 4th | 2. 1 Basic idea on dispatch, inspection, storage and handling of transformer
5th week | 1st & 2nd | 2. 2 Civil construction feature regarding connection like ventilation, noise level, Space for free movement.
| 3rd | 2. 3 Foundation and drainage of oil.
| 4th | 2. 4 Cabling and cable box for transformer.
6th week | 1st & 2nd | 2. 5 Provision for fire protection.
| 3rd | 2. 6 Provision for bushing support location of switch gear.
| 4th | 2. 7 Steps for commissioning fitting of all accessories.
7th week | 1st | 2. 8 Filling of oil, drying out.
| 2nd | 2. 9 Charging the breather with fresh silica gel.
| 3rd | 2. 10 Cleaning of bushing, fixing of conductor & cables, earthing of tank and cover,neutral earthing.
| 4th | 2. 11 Fixing of protection circuits and setting of relays.
8th week | 1st | Tutorial class
| 2nd | Tutorial class
| 3rd | Chapter 3 ( Installation, Commissioning & Testing of Sub- station )
| 4th | 3 . 1 Design and planning of indoor substation.
3 . 2 General requirement of layout of indoor substation with key diagram.
9th week | 1st | 3 . 4 Installation of outdoor substation:
| 2nd | 3.4.1 Selection of site, transport & receipt of transformer, checking of
| 3rd | insulation resistance of the winding, testing of transformer oil,
| 4th | protection fittings, construction of mounting, earthing arrangement
and final commissioning.
10th week | 1st | 3 . 5 Testing and commissioning of substation.
| 2nd | 3.5.1. Installation of control and relay panels.
| 3rd | 3.5.2. Preliminary preparation.
| 4th | 3.5.3. Sequence card for erection of switch gear equipments.
3.5.4. Location of place
11th week | 1st | 3.5.5. Unpacking
| 2nd | 3.5.6. Foundation
| 3rd | 3.5.7. Erection
| 4th | 3.5.8. Relays
12th week | 1st | 3 . 6 Bus-bar earthing connection, Earthing.
| 2nd | 3.6.1. Connection to main cable.
| 3rd | 3.6.2. Safety precaution
| 4th | 3 . 7 Installation of outdoor circuit breaker:
3.7.1. Receipt and storage.
13th week | 1st | 3.7.2. Civil works.
| 2nd | 3.7.3. Various steps for installation.
| 3rd | 3 . 8 Pre-commissioning tests.
| 4th | Tutorial class
Tutorial class
14th week | 1st | Chapter 4 ( Maintenance )
| 2nd | 4.1 Fundamental of maintenance.
| 3rd | 4.2 Preventive maintenance and planning.
| 4th | 4.3 Advantages of Preventive maintenance
| 5th | 4.4 Breakdown maintenance: List of tools / instruments and materials used for maintenance.
15th week | 1st | ss
| 2nd | Synchronous machines, Transformer, Transmission line, Distribution lines
| 3rd | Underground cables, Circuit breakers, Switch gear and protective relays
| 4th | and substations, SF-6 circuit breakers, Batteries in substation.
5th