ACADEMIC   LESSION   PLAN   FOR  SESSION  - 2025-26 .

Dept. of Electrical Eng, BIT Polytechnic , Balasore.

Name Of the Faculty :- Er. Chandrasekhar panigrahi

ELECTRICAL MEASUREMENT & INSTRUMENTATION

Course Code: Th.3

Theory  : 4 P/W 			Total Period s:     75P/ Sem		End Semester Exam : 80 marks

Examination : 3 Hours 				                                          TOTAL MARKS    :    100 Marks

Sem                :      3RD  EE

| WEEK | PERIOD | TOPIC |
| --- | --- | --- |
| 1st | 1st | Measurement, significance, unit, fundamental quantities and standards. |
|  | 2nd | Classification of measuring instruments and instrument system |
|  | 3rd | Null and deflection type instruments. |
|  | 4th | Absolute and secondary instruments. |
|  |  | Static and dynamic characteristics, types of errors. |
| 2nd | 1st | Calibration of instruments. Need and procedure |
|  | 2nd | Classification of measuring instrument, indicating, recording and integrating instruments, essential requirements of indicating instruments. |
|  | 3rd | DC ammeter, basic, multi range and universal shunt |
|  | 4th | DC ammeter, basic, multi range and universal shunt |
|  |  | Dc voltmeters, basic, multi range.Describe Construction, principle of operation, errors, ranges merits and demerits of Permanent Magnet Moving coil type instruments(continue..) |
| 3rd | 1st | AC ammeter, rectifier typeDescribe Construction, principle of operation, errors, ranges merits and demerits of Dynamometer type instruments |
|  | 2nd | CT &PT: construction, working and applications |
|  | 3rd | Describe Construction, principle of operation, errors, ranges merits and demerits of Rectifier type instruments |
|  | 4th | Describe Construction, principle of operation, errors, ranges merits and demerits of Induction type instruments |
|  |  | Extend the range of instruments by use of shunts resistor |
| 4th | 1st | Extend the range of instruments by use of Multipliers. |
|  | 2nd | Solve Numerical |
|  | 3rd | Solve Numerical(continue..) |
|  | 4th | Describe Construction, principle of working of Dynamometer type wattmeter. |
|  | 5th | Errors in Dynamometer type wattmeter |
| 5th | 1st | methods of their Error correction |
|  | 2nd | Discuss L P Ftype Dynamometer wattmeter |
|  | 3rd | Discuss U P F type Dynamometer wattmeter |
|  | 4th | Discuss Induction type watt meters |
|  |  | Single Phase Induction type Energy meters (introduction) |
| 6th | 1st | Single Phase Induction type Energy meters – construction & working principle |
|  | 2nd | Single Phase Induction type Energy meters – construction & working principle(continue..) |
|  | 3rd | their compensation and adjustments. |
|  | 4th | Testing of Energy Meters |
|  |  | Different types of Tachometers(introduction) |
| 7th | 1st | working principles of Tachometers |
|  | 2nd | Principle of operation and construction of Mechanical Type frequency meters |
|  | 3rd | Principle of operation and construction of Mechanical Type frequency meters(continue…) |
|  | 4th | Principle of operation and construction of Electrical resonance Type frequency meters. |
|  |  | Principle of operation and construction of Electrical resonance Type frequency meters(continue…) |
| 8th | 1st | Principle of operation and working of Dynamometer type single phase power factor meters. |
|  | 2nd | Principle of operation and working of Dynamometer type three phase power factor meters |
|  | 3rd | - Classification ofresistance |
|  | 4th | Measurement of low resistance by potentiometer method |
|  |  | Measurement of medium resistance by wheat Stone bridge method |
| 9th | 1st | Measurement of high resistance by loss of chargemethod |
|  | 2nd | Construction, principle of operations of Megger for measurement of insulation resistance |
|  | 3rd | Construction, principle of operations of Earth tester for earth resistance measurement |
|  | 4th | - Construction and principles of Multimeter. (Analog) |
|  | 5th | - Construction and principles of Multimeter. (Digital) |
| 10th | 1st | Measurement of inductance by Anderson Bridge method |
|  | 2nd | Measurement of capacitance by Schering Bridge method |
|  | 3rd | Single beam, single trace CRO(working principle and block diagram) |
|  | 4th | Digital storage oscilloscope. Basic block diagram, working, CRT, electro static deflection, |
|  |  | Vertical amplifier, time base generator, horaizontal amplifier. |
| 11th | 1st | Measurement of voltage, amplitude and time period frequency and phase angle delay line. |
|  | 2nd | Thermistor and Resistance thermometers |
|  | 3rd | Wire Resistance StrainGauges ,InductiveTransducer |
|  | 4th | Principle of linear variable differential Transformer(LVDT), Uses ofLVDT |
|  |  | CapacitiveTransducer. General principle of capacitive transducer |
| 12th | 1st | Variable area capacitive transducer, Change in distance between plate capacitive transducer |
|  | 2nd | Earth test digital multimeter, L-C-R meter,frequency meter, phase sequence indicator, power factor meter, ,synchro scope, tri-vector meter. |
|  | 3rd | Hall Effect Transducer ( theirapplications) |
|  | 4th | Principle of operation of Cathode Ray Tube |
|  | 5th | Principle of operation of Oscilloscope (with help of block diagram |
| 13th | 1st | Measurement of DC Voltage &current by CRO |
|  | 2nd | Measurement of AC Voltage, current by CRO. |
|  | 3rd | Measurement of AC phase &frequency BY CRO. |
|  | 4th | Overall Discussion |
|  | 5th | Overall Discussion |
| 14th | 1st | Overall Discussion |
|  | 2nd | Previous year question Discussion |
|  | 3rd | Tutorial |
|  | 4th | Tutorial |
|  | 5th | Tutorial |
| 15th | 1st | Tutorial |
|  | 2nd | Tutorial |
|  | 3rd | Tutorial |
|  | 4th | Tutorial |
|  | 5th | Tutorial |

HOD in BIT Electrical department                                                             Lectr. In Electrical department

Principal in BIT Polytechnic, BLS